## Schedule maintanance - DB
PRICING SHCEDULE SBD 3.1 (FIRM PRICES) |  |  |  | SHEET NO. 1 of 5
NAME OF THE BIDDER:
DESCRIPTION OF TENDER:REQUEST FOR PROPOSALS (RFP) INSTALLATIONS, REPAIRS, AND MAINTENANCE OF ELECTRICAL INFRASTRUCTURE FOR GPAA OFFICES FOR A PERIOD OF 60 MONTHS.
BID NUMBER: GPAA 11/2023
CLOSING DATE: Thursday, 14th December 2023
TIME: 11:00 AM
1. No other form of pricing template will be accepted. Failure to comply will result in the disqualification of the bid.
2. An incomplete pricing schedule (SBD 3.1) will also result in a disqualification.
3. Offer is valid for 120 days from the closing date of bid.
4. Total Bid price in RSA currency (all applicable taxes included)
QUARTERLY SCHEDULE SERVICE OF DISTRIBUTION BOARDS
YEAR ONE
Location | Description | Quantity | Quaterly service fee (VAT EXCL) | Total
Head Office ( 34 Hammilton Street, Pretoria) | Service of distribution boards as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicains for maximum of eight hours a day) | 4 |  | 0
YEAR TWO
| Description | Quantity | Quaterly service fee (VAT EXCL) | Total
| Service of distribution boards as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicains for maximum of eight hours a day) | 4 |  | 0
YEAR THREE
| Description | Quantity | Quaterly service fee (VAT EXCL) | Total
| Service of distribution boards as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicains for maximum of eight hours a day) | 4 |  | 0
YEAR FOUR
| Description | Quantity | Quaterly service fee (VAT EXCL) | Total
| Service of distribution boards as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicains for maximum of eight hours a day) | 4 |  | 0
YEAR FIVE
| Description | Quantity | Quaterly service fee (VAT EXCL) | Total
| Service of distribution boards as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicains for maximum of eight hours a day) | 4 |  | 0
Total EXCL VAT (Five years) |  |  |  | 0
Cost associated with spares , material and consumables shall be dealt in accordance with adhoc maintainance, at cost + mark-up%
Signature
Date
VAT applies to vat registered vendors only
Note: Estimated number of hrs are for evaluation purpose only, implimentation of the contract shall be based on actual hrs multiply by labour rates as and when required basis in line with GPAA's needs for the duration of the contract
Suppliers quotation to be submitted with invoice/quotation of material procured indicating % mark-up
No quotation shall be processed if supporting document are not attached i.e invoice or quotation from where material are bought
Mark-up % for spares/material/replacement of equipment to be fixed for duration of the contract i.e 3+1+1 = 5 years
GPAA reserves the right to negotiate tender rates

## Schedule Maintanance -UPS & GEN
PRICING SHCEDULE SBD 3.1 (FIRM PRICES) |  |  |  | SHEET NO. 2 of 5
NAME OF THE BIDDER:
DESCRIPTION OF TENDER:REQUEST FOR PROPOSALS (RFP) INSTALLATIONS, REPAIRS, AND MAINTENANCE OF ELECTRICAL INFRASTRUCTURE FOR GPAA OFFICES FOR A PERIOD OF 60 MONTHS.
BID NUMBER: GPAA 11/2023
CLOSING DATE: Thursday, 14th December 2023
TIME: 11:00 AM
1. No other form of pricing template will be accepted. Failure to comply will result in the disqualification of the bid.
2. An incomplete pricing schedule (SBD 3.1) will also result in a disqualification.
3. Offer is valid for 120 days from the closing date of bid.
4. Total Bid price in RSA currency (all applicable taxes included)
Table 1- QUARTERLY SCHEDULE SERVICE OF UPS AND GENERATORS
Location | Description | Quantity | Quaterly service fee (VAT EXCL) - Year 1 | Total Year 1 | Quaterly service fee (VAT EXCL) - Year 2 | Total Year 2 | Quaterly service fee (VAT EXCL) - Year 3 | Total Year 3 | Quaterly service fee (VAT EXCL) - Year 4 | Total Year 4 | Quaterly service fee (VAT EXCL) - Year 5 | Total Year 5 | Grand Total
Head Office | Service of two UPS and Generators (350 kva and 500 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Trevenna | Service of UPS and Generator (450 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Pietermaritzburg | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Mafikeng | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Polokwane | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Nelspruit | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Phuthaditjhaba | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Bloemfontein | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Kimberley | Service of Generator (20 kva) as per scope of work in the RFP ( the cost includes traveling, one Senior Technician and two Junior Technicians for maximum of eight hours a day) | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAL INC VAT ( Five Years) | [12 empty] | 0
| Table -2 | Monthly start-up of generators
Location | Description | Months | Monthly service fee (VAT EX) - Year 1 | Total Year 1 | Quaterly service fee (VAT EXCL) - Year 2 | Total Year 2 | Quaterly service fee (VAT EXCL) - Year 3 | Total Year 3 | Quaterly service fee (VAT EXCL) - Year 4 | Total Year 4 | Quaterly service fee (VAT EXCL) - Year 5 | Total Year 5 | Grand Total
Head Office | Monthly start-up of generators (350 kva and 500 kva) as per scope of work in the RFP ( the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Trevenna | Monthly start-up of Generator 450 kva as per scope of work in the RFP ( the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Pietermaritzburg | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Mafikeng | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Polokwane | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Nelspruit | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Phuthaditjhaba | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Bloemfontein | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Kimberley | Monthly start-up of Generator 20 kva as per scope of work in the RFP (the cost includes traveling, one Junior Technician for maximum of eight hours a day) | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAL EXCL VAT ( Five Years) | [12 empty] | 0
Sub totals
Table 1- Quarterly service | 0
Table 2- Monthly Service | 0
Total maintenance UPS Generators VAT EXCL | 0
Cost associated with spares , material and consumables shall be dealt in accordance with adhoc maintainance, at cost + mark-up%
Signature
Date
VAT applies to vat registered vendors only
Note: Estimated number of hrs are for evaluation purpose only, implimentation of the contract shall be based on actual hrs multiply by labour rates as and when required basis in line with GPAA's needs for the duration of the contract
Suppliers quotation to be submitted with invoice/quotation of material procured indicating % mark-up
No quotation shall be processed if supporting document are not attached i.e invoice or quotation from where material are bought
Mark-up % for spares/material/replacement of equipment to be fixed for duration of the contract i.e 3+1+1 = 5 years
GPAA reserves the right to negotiate tender rates

## Adhoc Maintanace
PRICING SHCEDULE SBD 3.1 (FIRM PRICES) |  |  |  | SHEET NO. 3 of 5
NAME OF THE BIDDER:
DESCRIPTION OF TENDER:REQUEST FOR PROPOSALS (RFP) INSTALLATIONS, REPAIRS, AND MAINTENANCE OF ELECTRICAL INFRASTRUCTURE FOR GPAA OFFICES FOR A PERIOD OF 60 MONTHS.
BID NUMBER: GPAA 11/2023
CLOSING DATE: Thursday, 14th December 2023
TIME: 11:00 AM
1. No other form of pricing template will be accepted. Failure to comply will result in the disqualification of the bid.
2. An incomplete pricing schedule (SBD 3.1) will also result in a disqualification.
3. Offer is valid for 120 days from the closing date of bid.
4. Total Bid price in RSA currency (all applicable taxes included)
MAINTNENANCE AND REPAIRS OF ELECTRICAL INFRASTRUCTURE
YEAR ONE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Senior Technician | 4160 |  | Per hr | 0
B | Junior Technician | 6240 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Senior Technician | 300 |  | Per hr | 0
D | Junior Technician | 600 |  | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Senior Technician | 300 |  | Per hr | 0
F | Junior Technician | 600 |  | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
| SUB- TOTAL ( A) |  |  |  | 0
YEAR TWO
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Senior Technician | 4160 |  | Per hr | 0
B | Junior Technician | 6240 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Senior Technician | 300 |  | Per hr | 0
D | Junior Technician | 600 |  | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Senior Technician | 300 |  | Per hr | 0
F | Junior Technician | 600 |  | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
| SUB- TOTAL ( B) |  |  |  | 0
YEAR THREE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Senior Technician | 4160 |  | Per hr | 0
B | Junior Technician | 6240 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Senior Technician | 300 |  | Per hr | 0
D | Junior Technician | 600 |  | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Senior Technician | 300 |  | Per hr | 0
F | Junior Technician | 600 |  | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
| SUB- TOTAL ( C) |  |  |  | 0
YEAR FOUR
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Senior Technician | 4160 |  | Per hr | 0
B | Junior Technician | 6240 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Senior Technician | 300 |  | Per hr | 0
D | Junior Technician | 600 |  | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Senior Technician | 300 |  | Per hr | 0
F | Junior Technician | 600 |  | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
| SUB- TOTAL ( D) |  |  |  | 0
YEAR FIVE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Senior Technician | 4160 |  | Per hr | 0
B | Junior Technician | 6240 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Senior Technician | 300 |  | Per hr | 0
D | Junior Technician | 600 |  | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Senior Technician | 300 |  | Per hr | 0
F | Junior Technician | 600 |  | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material/consumables and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material/consumable and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
| SUB- TOTAL ( E) |  |  |  | 0
TOTAL: SUMMARY FOR ADHOC MAINTANANCE SERVICES
| SUBTOTAL (A) ( YEAR 1) | 0
| SUBTOTAL (B) ( YEAR 2) | 0
| SUBTOTAL ( C) ( YEAR 3) | 0
| SUBTOTA (D) ( YEAR 4) | 0
| SUBTOTAL ( E) ( YEAR 5) | 0
| OVERALL SUBTOTAL (VAT EXCL) | 0
NOTE: THE ESTIMATED QUANTITIES AND TOTAL PRICE WILL BE USED FOR EVALUATION PURPOSES ONLY, THE ACTUAL RATE HR FOR SPECIFIC SERVICE WILL BE APPLIED FOR THE IMPLIMENTATION OF THE CONTRACT, THEREFORE THE TOTAL PRICE SHALL NOT BE USED AS ACTUAL CONTRACT VALUE.
Signature
Date
VAT applies to vat registered vendors only
Note: Estimated number of hrs are for evaluation purpose only, implimentation of the contract shall be based on actual hrs multiply by labour rates as and when required basis in line with GPAA's needs for the duration of the contract
Suppliers quotation to be submitted with invoice/quotation of material procured indicating % mark-up
No quotation shall be processed if supporting document are not attached i.e invoice or quotation from where material are bought
Mark-up % for spares/material/replacement of equipment to be fixed for duration of the contract i.e 3+1+1 = 5 years
GPAA reserves the right to negotiate tender rates

## SOLAR
PRICING SHCEDULE SBD 3.1 (FIRM PRICES) |  | SHEET NO. 4 of 5
NAME OF THE BIDDER:
DESCRIPTION OF TENDER:REQUEST FOR PROPOSALS (RFP) INSTALLATIONS, REPAIRS, AND MAINTENANCE OF ELECTRICAL INFRASTRUCTURE FOR GPAA OFFICES FOR A PERIOD OF 60 MONTHS.
BID NUMBER: GPAA 11/2023
CLOSING DATE: Thursday, 14th December 2023
TIME: 11:00 AM
1. No other form of pricing template will be accepted. Failure to comply will result in the disqualification of the bid.
2. An incomplete pricing schedule (SBD 3.1) will also result in a disqualification.
3. Offer is valid for 120 days from the closing date of bid.
4. Total Bid price in RSA currency (all applicable taxes included)
SOLAR PRICING
YEAR ONE | AS AND WHEN REQUIRED
Description | Unit price | Total including (VAT EXCL)
50kW 3-Phase Solar Inverter. |  | 0
30kW 3-Phase Solar Inverter |  | 0
30kW Hybrid Inverter – 48V CT & WIFI Incl. |  | 0
50kW Hybrid Inverter – 48V CT & WIFI Incl. |  | 0
Solar panels 550W Monocrystalline PV panel. |  | 0
Installation of power supplies to and from UPS units; and |  | 0
Electrical cabling to and from the genset and the UPS’s where necessary. |  | 0
Installation costs per off-grid systems i.e solar panels, lithium batteries and inverters. |  | 0
OFF- Grid Solar installation related cabling, DB’s, fuses, etc. |  | 0
Change over switch and Installation of automatic change over switch for solar installations |  | 0
Transport cost ( km) - LDV |  | 0
Call out fee (Once off) |  | 0
SUB TOTAL BID PRICE VAT EXCL |  | 0
% ANNUAL ESCALATIONS | Escalation % | Amount
Escalation % year 2 |  |  | 0%
Escalation % Year 3 |  |  | 0%
Escalation % Year 4 |  |  | 0%
Escalation % Year 5 |  |  | 0%
OTHERS ACTIVITIES PROVISIONS |  | Amount
% allowance for unplanned costs |  | Mark-up %
Mark-up %
Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a
Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a

## SBD 3.1 Grand Total
PRICING SHCEDULE SBD 3.1 (FIRM PRICES) |  | SHEET NO. 5 of 5
NAME OF THE BIDDER:
DESCRIPTION OF TENDER:REQUEST FOR PROPOSALS (RFP) INSTALLATIONS, REPAIRS, AND MAINTENANCE OF ELECTRICAL INFRASTRUCTURE FOR GPAA OFFICES FOR A PERIOD OF 60 MONTHS.
BID NUMBER: GPAA 11/2023
CLOSING DATE: Thursday, 14th December 2023
TIME: 11:00 AM
1. No other form of pricing template will be accepted. Failure to comply will result in the disqualification of the bid.
2. An incomplete pricing schedule (SBD 3.1) will also result in a disqualification.
3. Offer is valid for 120 days from the closing date of bid.
4. Total Bid price in RSA currency (all applicable taxes included)
MAINTANANANCE AND REPAIRS OF ELECTRICAL INFRASTRUCTURE
SBD 3.1
Summary
Description | Total (VAT Inc)
Schedule maintanance -Distribution Board | 0
Schedule maintanance -UPS and Generators | 0
Adhoc Maintanance
Solar
TOTAL BID PRICE (Vat Inc) | 0
Signature
Date