|  |  |  |
| --- | --- | --- |
| **QUESTIONS AND ANSWERS FOR GENERATOR BID(GPAA 11/2019)** | | |
| **No** | **QUESTION** | **ANSWER** |
| 1 | Registration with the ECSA should be electrical or mechanical. | Any of the two as specified in the RFP. |
| 2 | Will GPAA supply fuel to run the generator for 8hrs after installation? | The service provider should supply the fuel. As discussed in Fridays briefing session the service providers must quote for 500 Liter fuel |