## Call out rates
PRICING SCHEDULE SBD 3.1
YEAR ONE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Technician | 2080 |  | Per hr | 0
B | Assistant technician | 2080 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Technician | 300 | 0 | Per hr | 0
D | Assistant technician | 300 | 0 | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Technician | 300 | 0 | Per hr | 0
F | Assistant technician | 300 | 0 | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
K | Annual escalation per year (%) | n/a |  | % | n/a
| SUB- TOTAL ( A) |  |  |  | 0
YEAR TWO
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Technician | 2080 |  | Per hr | 0
B | Assistant technician | 2080 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Technician | 300 | 0 | Per hr | 0
D | Assistant technician | 300 | 0 | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Technician | 300 | 0 | Per hr | 0
F | Assistant technician | 300 | 0 | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
K | Annual escalation per year (%) | n/a |  | % | n/a
| SUB- TOTAL ( B) |  |  |  | 0
YEAR THREE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Technician | 2080 |  | Per hr | 0
B | Assistant technician | 2080 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Technician | 300 | 0 | Per hr | 0
D | Assistant technician | 300 | 0 | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Technician | 300 | 0 | Per hr | 0
F | Assistant technician | 300 | 0 | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
K | Annual escalation per year (%) | n/a |  | % | n/a
| SUB- TOTAL ( C) |  |  |  | 0
YEAR FOUR
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Technician | 2080 |  | Per hr | 0
B | Assistant technician | 2080 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Technician | 300 | 0 | Per hr | 0
D | Assistant technician | 300 | 0 | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Technician | 300 | 0 | Per hr | 0
F | Assistant technician | 300 | 0 | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
K | Annual escalation per year (%) | n/a |  | % | n/a
| SUB- TOTAL ( D) |  |  |  | 0
YEAR FIVE
No | Description | Estimated Qty | Rate (VAT INC) | Unit of measure | Total
Normal working hrs
A | Technician | 2080 |  | Per hr | 0
B | Assistant technician | 2080 |  | Per hr | 0
After Normal working hrs and Weekend ( normal rate x 1,5)
C | Technician | 300 | 0 | Per hr | 0
D | Assistant technician | 300 | 0 | Per hr | 0
Sunday and Public Holiday ( normal rate x 2,00)
E | Technician | 300 | 0 | Per hr | 0
F | Assistant technician | 300 | 0 | Per hr | 0
OTHERS ACTIVITIES
G | Transport cost ( km) - LDV | 10000 |  | Per Km | 0
H | Call out fee (Once off) | 20 |  | Each | 0
I | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value < R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
J | Mark-up % to be added on new spares/material and replacement of existing equipments/infrastructure for value > R10,000,00 - Mark-up must be between 0-25% as per National Treasury Guideline | n/a |  | % | n/a
K | Annual escalation per year (%) | n/a |  | % | n/a
| SUB- TOTAL ( E) |  |  |  | 0
TOTAL: SUMMARY FORCALL OUT SERVICES
| SUBTOTAL (A) ( YEAR 1) | 0
| SUBTOTAL (B) ( YEAR 2) | 0
| SUBTOTAL ( C) ( YEAR 3) | 0
| SUBTOTA (D) ( YEAR 4) | 0
| SUBTOTAL ( E) ( YEAR 5) | 0
| OVERALL SUBTOTAL ( C) | 0
Note: Quantities are estimations, therefore may increase or decrease based on GPAA's needs during the contract period
Name of Service Provider
Signature
Date
VAT applies to vat registered vendors only
Note: Estimated number of hrs are for evaluation purpose only, implimentation of the contract shall be based on actual hrs multiply by labour rates as and when required basis in line with GPAA's needs for the duration of the contract
Suppliers quotation to be submitted with invoice/quotation of material procured indicating % mark-up
No quotation shall be processed if supporting document are not attached i.e invoice or quotation from where material are bought
Mark-up % for spares/material/replacement of equipment to be fixed for duration of the contract i.e 3+1+1 = 5 years
GPAA reserves the right to negotiate tender rates

## Airconditioners prices
Replacement Air Conditioners pricing schedule
YEAR ONE
Replacement Air Conditioners pricing schedule
Description | Size | Quantity | Unit cost vat inc | Total
Daikin (inverter) | 12 000 btu split type unit | 15 |  | 0
Daikin (inverter) | 18 000 btu split type unit | 15 |  | 0
Daikin (inverter) | 24 000 btu split unit type | 5 |  | 0
Daikin (inverter) | 30 000 btu cassette unit type | 5 |  | 0
Daikin (inverter) | 48 000 btu hide away unit | 4 |  | 0
SUB TOTAL (A) |  |  |  | 0
YEAR TWO
Replacement Air Conditioners pricing schedule
Description | Size | Quantity | Unit cost vat inc | Total
Daikin (inverter) | 12 000 btu split type unit | 15 |  | 0
Daikin (inverter) | 18 000 btu split type unit | 15 |  | 0
Daikin (inverter) | 24 000 btu split unit type | 5 |  | 0
Daikin (inverter) | 30 000 btu cassette unit type | 5 |  | 0
Daikin (inverter) | 48 000 btu hide away unit | 4 |  | 0
SUB TOTAL (B) |  |  |  | 0
YEAR THREE
Replacement Air Conditioners pricing schedule
Description | Size | Quantity | Unit cost vat inc | Total
Daikin (inverter) | 12 000 btu split type unit | 10 |  | 0
Daikin (inverter) | 18 000 btu split type unit | 10 |  | 0
Daikin (inverter) | 24 000 btu split unit type | 5 |  | 0
Daikin (inverter) | 30 000 btu cassette unit type | 4 |  | 0
Daikin (inverter) | 48 000 btu hide away unit | 4 |  | 0
SUB TOTAL (C) |  |  |  | 0
YEAR FOUR
Replacement Air Conditioners pricing schedule
Description | Size | Quantity | Unit cost vat inc | Total
Daikin (inverter) | 12 000 btu split type unit | 5 |  | 0
Daikin (inverter) | 18 000 btu split type unit | 10 |  | 0
Daikin (inverter) | 24 000 btu split unit type | 5 |  | 0
Daikin (inverter) | 30 000 btu cassette unit type | 4 |  | 0
Daikin (inverter) | 48 000 btu hide away unit | 4 |  | 0
SUB TOTAL (D) |  |  |  | 0
YEAR FIVE
Replacement Air Conditioners pricing schedule
Description | Size | Quantity | Unit cost vat inc | Total
Daikin (inverter) | 12 000 btu split type unit | 5 |  | 0
Daikin (inverter) | 18 000 btu split type unit | 5 |  | 0
Daikin (inverter) | 24 000 btu split unit type | 5 |  | 0
Daikin (inverter) | 30 000 btu cassette unit type | 4 |  | 0
Daikin (inverter) | 48 000 btu hide away unit | 4 |  | 0
SUB TOTAL (E) |  |  |  | 0
TOTAL: SUMMARY FOR REPLACEMENT OF AIRCONDITIONERS
SUBTOTAL (A) ( YEAR 1) | 0
SUBTOTAL (B) ( YEAR 2) | 0
SUBTOTAL ( C) ( YEAR 3) | 0
SUBTOTA (D) ( YEAR 4) | 0
SUBTOTAL ( E) ( YEAR 5) | 0
OVERALL SUBTOTAL ( A) | 0
Name of Service Provider
Signature
Date

## Parts or spares prices
REPLACEMENT PARTS PRICING SCHEDULE: These are only estimated figures, quantities may increase or decrease, based on the need.
YEAR ONE
Description | Size | Quantity | Unit Cost vat inc | Total
Compressor | 24 000 btu | 5 |  | 0
Compressor | 30 000 btu | 5 |  | 0
Compressor | 36 000 btu | 5 |  | 0
Compressor | 48 000 btu | 5 |  | 0
PC Board | 12 000 btu | 5 |  | 0
PC Board | 18 000 btu | 5 |  | 0
PC Board | 24 000 btu | 5 |  | 0
PC Board | 30 000 btu | 5 |  | 0
PC Board | 36 000 btu | 5 |  | 0
PC Board | 48 000 btu | 5 |  | 0
Capacitator | 12 000 btu | 5 |  | 0
Capacitator | 18 000 btu | 5 |  | 0
Capacitator | 24 000 btu | 5 |  | 0
Capacitator | 30 000 btu | 5 |  | 0
Capacitator | 36 000 btu | 5 |  | 0
Capacitator | 48 000 btu | 5 |  | 0
Reverse valves | 4 way | 5 |  | 0
Fan Motor | 12 000 btu | 5 |  | 0
Fan Motor | 18 000 btu | 5 |  | 0
Fan Motor | 24 000 btu | 5 |  | 0
Fan Motor | 30 000 btu | 5 |  | 0
Fan Motor | 36 000 btu | 5 |  | 0
Fan Motor | 48 000 btu | 5 |  | 0
LP HP switch | Dual pressure switch | 5 |  | 0
Wired remote controllers | 4 zones | 5 |  | 0
Electronic expansion valve | Universal | 5 |  | 0
Three phase contactor | 18A, 220V | 5 |  | 0
Three phase contactor | 63A 230V | 5 |  | 0
Fan blade | 230V | 5 |  | 0
Supply monitor phase failure phase reversal | 300-500AC | 5 |  | 0
Transformer | 220V - 24 VAC | 5 |  | 0
Contactor | 32A | 5 |  | 0
Overload protection | 4.5 - 6.3A | 5 |  | 0
V belt | 1700mm length | 5 |  | 0
V belt | 2.3m length | 5 |  | 0
V belt | 4.32m length | 5 |  | 0
Motor | 1.1kw-220V/380V | 5 |  | 0
Compressor | SZ161T4VC | 5 |  | 0
Digital Thermostat | lcd display 5-30 degrees C | 5 |  | 0
|  | 5 |  | 0
0
YEAR TWO
Description | Size | Quantity | Unit Cost vat inc | Total
Compressor | 24 000 btu | 5 |  | 0
Compressor | 30 000 btu | 5 |  | 0
Compressor | 36 000 btu | 5 |  | 0
Compressor | 48 000 btu | 5 |  | 0
PC Board | 12 000 btu | 5 |  | 0
PC Board | 18 000 btu | 5 |  | 0
PC Board | 24 000 btu | 5 |  | 0
PC Board | 30 000 btu | 5 |  | 0
PC Board | 36 000 btu | 5 |  | 0
PC Board | 48 000 btu | 5 |  | 0
Capacitator | 12 000 btu | 5 |  | 0
Capacitator | 18 000 btu | 5 |  | 0
Capacitator | 24 000 btu | 5 |  | 0
Capacitator | 30 000 btu | 5 |  | 0
Capacitator | 36 000 btu | 5 |  | 0
Capacitator | 48 000 btu | 5 |  | 0
Reverse valves | 4 way | 5 |  | 0
Fan Motor | 12 000 btu | 5 |  | 0
Fan Motor | 18 000 btu | 5 |  | 0
Fan Motor | 24 000 btu | 5 |  | 0
Fan Motor | 30 000 btu | 5 |  | 0
Fan Motor | 36 000 btu | 5 |  | 0
Fan Motor | 48 000 btu | 5 |  | 0
LP HP switch | Dual pressure switch | 5 |  | 0
Wired remote controllers | 4 zones | 5 |  | 0
Electronic expansion valve | Universal | 5 |  | 0
Three phase contactor | 18A, 220V | 5 |  | 0
Three phase contactor | 63A 230V | 5 |  | 0
Fan blade | 230V | 5 |  | 0
Supply monitor phase failure phase reversal | 300-500AC | 5 |  | 0
Transformer | 220V - 24 VAC | 5 |  | 0
Contactor | 32A | 5 |  | 0
Overload protection | 4.5 - 6.3A | 5 |  | 0
V belt | 1700mm length | 5 |  | 0
V belt | 2.3m length | 5 |  | 0
V belt | 4.32m length | 5 |  | 0
Motor | 1.1kw-220V/380V | 5 |  | 0
Compressor | SZ161T4VC | 5 |  | 0
Digital Thermostat | lcd display 5-30 degrees C | 5 |  | 0
0
Sub total (B) |  |  |  | 0
YEAR THREE
Description | Size | Quantity | Unit Cost vat inc | Total
Compressor | 24 000 btu | 5 |  | 0
Compressor | 30 000 btu | 5 |  | 0
Compressor | 36 000 btu | 5 |  | 0
Compressor | 48 000 btu | 5 |  | 0
PC Board | 12 000 btu | 5 |  | 0
PC Board | 18 000 btu | 5 |  | 0
PC Board | 24 000 btu | 5 |  | 0
PC Board | 30 000 btu | 5 |  | 0
PC Board | 36 000 btu | 5 |  | 0
PC Board | 48 000 btu | 5 |  | 0
Capacitator | 12 000 btu | 5 |  | 0
Capacitator | 18 000 btu | 5 |  | 0
Capacitator | 24 000 btu | 5 |  | 0
Capacitator | 30 000 btu | 5 |  | 0
Capacitator | 36 000 btu | 5 |  | 0
Capacitator | 48 000 btu | 5 |  | 0
Reverse valves | 4 way | 5 |  | 0
Fan Motor | 12 000 btu | 5 |  | 0
Fan Motor | 18 000 btu | 5 |  | 0
Fan Motor | 24 000 btu | 5 |  | 0
Fan Motor | 30 000 btu | 5 |  | 0
Fan Motor | 36 000 btu | 5 |  | 0
Fan Motor | 48 000 btu | 5 |  | 0
LP HP switch | Dual pressure switch | 5 |  | 0
Wired remote controllers | 4 zones | 5 |  | 0
Electronic expansion valve | Universal | 5 |  | 0
Three phase contactor | 18A, 220V | 5 |  | 0
Three phase contactor | 63A 230V | 5 |  | 0
Fan blade | 230V | 5 |  | 0
Supply monitor phase failure phase reversal | 300-500AC | 5 |  | 0
Transformer | 220V - 24 VAC | 5 |  | 0
Contactor | 32A | 5 |  | 0
Overload protection | 4.5 - 6.3A | 5 |  | 0
V belt | 1700mm length | 5 |  | 0
V belt | 2.3m length | 5 |  | 0
V belt | 4.32m length | 5 |  | 0
Motor | 1.1kw-220V/380V | 5 |  | 0
Compressor | SZ161T4VC | 5 |  | 0
Digital Thermostat | lcd display 5-30 degrees C | 5 |  | 0
0
Sub total (C) |  |  |  | 0
YEAR FOUR
Description | Size | Quantity | Unit Cost vat inc | Total
Compressor | 24 000 btu | 5 |  | 0
Compressor | 30 000 btu | 5 |  | 0
Compressor | 36 000 btu | 5 |  | 0
Compressor | 48 000 btu | 5 |  | 0
PC Board | 12 000 btu | 5 |  | 0
PC Board | 18 000 btu | 5 |  | 0
PC Board | 24 000 btu | 5 |  | 0
PC Board | 30 000 btu | 5 |  | 0
PC Board | 36 000 btu | 5 |  | 0
PC Board | 48 000 btu | 5 |  | 0
Capacitator | 12 000 btu | 5 |  | 0
Capacitator | 18 000 btu | 5 |  | 0
Capacitator | 24 000 btu | 5 |  | 0
Capacitator | 30 000 btu | 5 |  | 0
Capacitator | 36 000 btu | 5 |  | 0
Capacitator | 48 000 btu | 5 |  | 0
Reverse valves | 4 way | 5 |  | 0
Fan Motor | 12 000 btu | 5 |  | 0
Fan Motor | 18 000 btu | 5 |  | 0
Fan Motor | 24 000 btu | 5 |  | 0
Fan Motor | 30 000 btu | 5 |  | 0
Fan Motor | 36 000 btu | 5 |  | 0
Fan Motor | 48 000 btu | 5 |  | 0
LP HP switch | Dual pressure switch | 5 |  | 0
Wired remote controllers | 4 zones | 5 |  | 0
Electronic expansion valve | Universal | 5 |  | 0
Three phase contactor | 18A, 220V | 5 |  | 0
Three phase contactor | 63A 230V | 5 |  | 0
Fan blade | 230V | 5 |  | 0
Supply monitor phase failure phase reversal | 300-500AC | 5 |  | 0
Transformer | 220V - 24 VAC | 5 |  | 0
Contactor | 32A | 5 |  | 0
Overload protection | 4.5 - 6.3A | 5 |  | 0
V belt | 1700mm length | 5 |  | 0
V belt | 2.3m length | 5 |  | 0
V belt | 4.32m length | 5 |  | 0
Motor | 1.1kw-220V/380V | 5 |  | 0
Compressor | SZ161T4VC | 5 |  | 0
Digital Thermostat | lcd display 5-30 degrees C | 5 |  | 0
0
Sub total (D) |  |  |  | 0
YEAR FIVE
Description | Size | Quantity | Unit Cost vat inc | Total
Compressor | 12 000 btu | 5 |  | 0
Compressor | 18 000 btu | 5 |  | 0
Compressor | 24 000 btu | 5 |  | 0
Compressor | 30 000 btu | 5 |  | 0
Compressor | 36 000 btu | 5 |  | 0
Compressor | 48 000 btu | 5 |  | 0
PC Board | 12 000 btu | 5 |  | 0
PC Board | 18 000 btu | 5 |  | 0
PC Board | 24 000 btu | 5 |  | 0
PC Board | 30 000 btu | 5 |  | 0
PC Board | 36 000 btu | 5 |  | 0
PC Board | 48 000 btu | 5 |  | 0
Capacitator | 12 000 btu | 5 |  | 0
Capacitator | 18 000 btu | 5 |  | 0
Capacitator | 24 000 btu | 5 |  | 0
Capacitator | 30 000 btu | 5 |  | 0
Capacitator | 36 000 btu | 5 |  | 0
Capacitator | 48 000 btu | 5 |  | 0
Reverse valves | 4 way | 5 |  | 0
Fan Motor | 12 000 btu | 5 |  | 0
Fan Motor | 18 000 btu | 5 |  | 0
Fan Motor | 24 000 btu | 5 |  | 0
Fan Motor | 30 000 btu | 5 |  | 0
Fan Motor | 36 000 btu | 5 |  | 0
Fan Motor | 48 000 btu | 5 |  | 0
LP HP switch | Dual pressure switch | 5 |  | 0
Wired remote controllers | 4 zones | 5 |  | 0
Electronic expansion valve | Universal | 5 |  | 0
Three phase contactor | 18A, 220V | 5 |  | 0
Three phase contactor | 63A 230V | 5 |  | 0
Fan blade | 230V | 5 |  | 0
Supply monitor phase failure phase reversal | 300-500AC | 5 |  | 0
Transformer | 220V - 24 VAC | 5 |  | 0
Contactor | 32A | 5 |  | 0
Overload protection | 4.5 - 6.3A | 5 |  | 0
V belt | 1700mm length | 5 |  | 0
V belt | 2.3m length | 5 |  | 0
V belt | 4.32m length | 5 |  | 0
Motor | 1.1kw-220V/380V | 5 |  | 0
Compressor | SZ161T4VC | 5 |  | 0
Digital Thermostat | lcd display 5-30 degrees C | 5 |  | 0
0
TOTAL: SUMMARY FOR REPLACEMENT OF PARTS
SUBTOTAL (A) ( YEAR 1) | 0
SUBTOTAL (B) ( YEAR 2) | 0
SUBTOTAL ( C) ( YEAR 3) | 0
SUBTOTAL (D) ( YEAR 4) | 0
SUBTOTAL ( E) ( YEAR 5) | 0
OVERALL SUBTOTAL ( B) | 0
NOTE: Quantities are estimations, therefore may increase or decrease based on GPAA's needs during the contract period
Name of Service Provider
Signature
Date

## GRAND TOTAL
GRAND TOTAL
Table | Worksheet Sub- Total
Total of Replacement aircondtioners (A) | 0
Total of Replacement part (B) | 0
Total of call out fees (C) | 0
ESTIMATED TOTAL BID VAT INC | 0
Name of Service Provider
Signature
Date