|  |
| --- |
| **BID GPAA 16/2017 – Installation of energy efficiency light fittings** |
| Question: | Response: |
| Can you please confirm if you want to replace Fluorescent light fittings with energy efficiency (LED) on this project or you still need Fluorescent lights as per your specification? | Replace fluorescent with LED |
| What is the Energy reduction percentage required? | Not confirmed. Bidders should price according to the specification in the RFP, pricing for LED lights |