**Table 2: Re-fuelling of generators and “other as and when” required repairs (at GPAA and GEPF office)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type of service | **Quantities**  For the three years | **Year 1** | **Year**  **2** | **Year 3** | | **Total** |
| Supply and install 2x4 dedicated power plug points | 50 |  |  |  | |  |
| Supply and install 2x4 normal power plug points | 100 |  |  |  | |  |
| Supply and install UPS power plugs | 50 |  |  |  | |  |
| Installation of TV sets | 10 |  |  |  | |  |
| Supply and install 2x4 air conditioner isolators and supply power supplies to air conditioners | 30 |  |  |  | |  |
| Transportation and re- fuelling of 3 x Generators at GPAA Hamilton Street and GEPF in Brooklyn Pretoria as per 4.1.2.3 | 36 |  |  |  | |  |
| Supply and install magnetic door locks and power supplies | 12 |  |  |  | |  |
| Supply and replace MR16 LED down light fitting (silver chrome) | 200 |  |  |  | |  |
| Supply and replace 4FT 2X 35W surface mounted LED fluorescent lights | 100 |  |  |  | |  |
| Supply and replace 250W LED pole lights | 15 |  |  |  | |  |
| Supply and replace of 400W LED restin 4 outdoor flood lights | 15 |  |  |  | |  |
| VAT |  | | | |  | |
| Sub Total (B) |  | | | |  | |

**GENERATORS**

|  |  |
| --- | --- |
| **GEPF MENLYN OFFICE** | **GPAA HEAD OFFICE** |
| 1.SKC 150KVA | 1. Scania 500KVA generator |
|  | 2. Second generator still to be installed |
|  |  |