## Slide 1
BRIEFING SESSION
Pieter Dauth
MAINFRAME SUPPORT, DATA REPLICATION AND FAIL-OVER TENDER
BID GPAA 18/2017

## Slide 2: Services Overview
Mainframe Support
  Operations (on premises 24 x 7) (including backups, cassette management, printing, IPL, data restores)
  Job Scheduling (on premises with remote and after hours support)
  System/Software Support (on premises with remote and after hours support, including network support)
  Operations / Service Management (on premises with remote and after hours support)
  Cost must include all IBM costs for maintenance, licences, support, etc. For the full three year period
  Suitably qualified and skilled support staff members, in the employ of the service provider

## Slide 3: Services Overview (continued)
Production Data Replication
  DS8870 to DS8870 asynchronous replication (24 x 7) - Using IBM’s Global Mirror Product – no reverse replication in case of a DR
  Dual redundant replication link (2 by 20Mbps, Active/Active, different service providers) between the two data centres (this must include the monitoring and reporting)
  Cost must include all IBM costs for maintenance, licences, support, etc. for the full three year period
  Cost must include the network, hosting, support and platform costs
Mainframe Failover
  Two fail over tests per calendar year
  5 to 10 seats for GPAA staff in the service provider’s data centre support area during a test or a real DR
  In the case of a real DR fail over, service will remain active until the GPAA’s internal mainframe service has been restored

## Slide 4: Environment
GPAA Data Centre – Hamilton Street
  GPAA’s active mainframe connected to the GPAA’s Internal network
  Network connectivity Data centre to Data centre (active 24 x 7) (provided by the service provider)
Failover Site
  Service provider’s data centre (Minimum Tier 3 data centre)
  Service Provider’s Cold Standby mainframe – equivalent capacity as that of the GPAA’s mainframe (will only be started in the case of a failover test or a real DR)
  Must have backup capability
  Active DS8870 (asynchronous replication)
  Network connectivity Data centre to Data centre (active 24 x 7)
  Network connectivity between the DC of the Service Provider and the GPAA’s MPLS network – provided by the GPAA

## Slide 5: Service Level Requirements
SLA – 99.9%
Recovery Time Objective – Minimum 1 (one) hour
Recovery Point Objective – Minimum 30 (thirty)minutes

## Slide 6: Specific Tender Requirements
Please clearly indicate any service exclusions in your response
Pricing must be based on a monthly service fee, payable in arrears (VAT Incl)
Once-off costs must be clearly indicated as separate line items
You must have solid and current/near current experience in rendering the required services
Please take note of our reporting requirements
Provide a detailed Service transition plan and transition cost
Reserve the right to conduct a due diligence exercise
Support staff will be subjected to security clearances and must complete individual non-disclosure agreements

## Slide 7: Questions
WE THANK YOU FOR YOUR INTEREST